## Utility Bills
Price per kWh ($) | Price per Peak kW ($) | Price per Therm ($) | Price per MMBTU ($) | --- | Kwh Usage | Peak Kw Usage | Kwh Charge ($) | Peak Charge ($) | Total Electric Monthly Charges ($) | Natural Gas Usage (Therms) | Natural Gas Usage (MMBTU) | Natural Gas Charge ($) | Monthly Water Charges ($) | Monthly Sewer Charges ($)
0.096786 | 14.9651 | 1.2501 | 6.0589 |  | 496000 | 2406 | 48006 | 36006 | 84000 | 96000 | 19806.6 | 120006 | 3600 | 1800

## Door
ID | Description | Number of Doors | Location | Material | Length (ft) | Width (ft) | Thickness (ft) | Surface_Temp | R door | R insul | U non | U in | Area Total (ft^2) | Area Used (ft^2) | Q non | Q in | Q diff | Heat Loss non-insul (BTU/hr) | Heat Loss insul (BTU/hr) | Heat Loss Diff. (BTU/hr) | Heat Loss (BTU/hr) | Peak Reduction (KW) | Annual Peak Reduction (KW/year) | Annual KWh Reduction (KWh/year) | Peak Savings ($/year) | KWh Savings ($/year) | Total Savings ($/year) | Insulation Needed (ft^2) | Capital Cost ($) | Labor Cost ($) | Implementation Cost ($) | SPP (year) | SPP (months)
1 | Large Door | 5 | 0559.mov | Galvanized Steel | 4.5 | 9 | 0.6 | 253 | 0.0016631 | 6.25 | 1.9934 | 0.15996 | 202.5 | 14.76 | 5384.2513 | 432.0578 | 4952.1935 | 8353.02 | 670.29 | 7682.73 | 7682.7312 | 2.2517 | 27.0202 | 14050.4814 | 404.359 | 1359.894 | 1764.253 | 337.5 | 3375 | 1012.5 | 4387.5 | 2.4869 | 29.8427
2 | Small Door | 10 | 0606.mov | Iron | 4.5 | 3 | 0.6 | 267 | 0.0016631 | 6.25 | 1.9934 | 0.15996 | 135 | 7.56 | 2968.7655 | 238.2278 | 2730.5377

## Tank
Heat Loss (BTU/hr) | Peak Reduction (KW) | Annual Peak Reduction (KW/year) | Annual KWh Reduction (KWh/year) | Annual Peak Savings ($/year) | Annual KWh Savings ($/year) | Total Annual Savings ($/year) | Capital Cost ($) | Labor Cost ($) | Implementation Cost ($) | SPP (years) | SPP (months)
43761.13 | 12.83 | 153.91 | 80032.08 | 2303.24 | 7746.01 | 10049.25 | 1809.56 | 240 | 240 | 0.2 | 2.45

## AirLeak
W_comp | M_air | Power Loss | Kw Reduction | Total Kw Savings | Total Savings($) | Labor Cost ($) | Implementation Cost($) | SPP (months)
291.462 | 0.0027548 | 0.80293 | 16.0585 | 100205.3363 | 9938.8203 | 480 | 5480 | 6.6165

## ReduceAir
Saving Factor | Compressor Draw (KW) | Energy Savings (KWh/year) | Cost Savings ($/year) | Implementation Cost ($) | SPP (years) | SPP (months)
0.020414 | 186.425 | 14248.5756 | 1379.0668 | 60 | 0.043508 | 0.52209

## OffComp
Peak Reduction (KW) | KWh Reduction (KW/year) | Cost Savings ($/year)
3.0201 | 13505.8201 | 1307.1782

## LED
Monthly Peak kW Reduction | Annual kWh Savings | Peak Cost Savings | kWh Cost Savings ($) | Reduction Savings ($) | Led Lifespan (years) | Replacement Cycles Bulbs (years) | Replacement Cycles Ballast (years) | Cost Avoidance total ($) | Annual Cost Avoidance ($) | Total Savings($) | Implementation Cost ($) | SPP months
59.5 | 371280 | 10685.0723 | 35934.8139 | 46619.8862 | 8.0128 | 2.0833 | 1.25 | 81762.9167 | 10204.012 | 56823.8982 | 155669 | 32.874

## Occupancy
Annual kWh Savings | kWh Cost Savings ($) | Capital Cost ($) | Labor Cost ($) | Implementation Cost ($) | SPP months
2496 | 241.5786 | 990 | 600 | 1590 | 78.9805

## Daylight
Annual kWh Savings | kWh Cost Savings ($) | Capital Cost ($) | Labor Cost ($) | Implementation Cost ($) | SPP months
2096.64 | 202.926 | 750 | 900 | 1650 | 97.5725

## VSD
Pre Loaded Cons(KW) | Pre Unloaded Cons(KW) | Pre Total Cons(KW) | Post Loaded Cons(KW) | Post Unloaded Cons(KW) | Post Total Cons(KW) | Peak KW Savings | Annual KWh Savings | Peak KW Cost Savings($) | Annual KWh Cost Savings($) | Total Savings($) | Capitol Cost($) | Labor Cost($) | Implementation Cost($) | SPP (Months)
150.2388 | 43.1537 | 193.3925 | 124.0083 | 18.6012 | 142.6096 | 50.7829 | 158442.7538 | 50.7829 | 158442.7538 | 16095.0574 | 45000 | 22500 | 67500 | 50.326

## Ratio
Fuel Consumption (MMbtu/year) | Gas Savings (MMbtu/year) | Cost Saving ($/year) | Personal Cost ($/year) | Net Savings ($/year) | SPP (Months)
109663.01 | 1496.38 | 9066.38 | 3000 | 6066.38 | 0

## Micro
CHP Input (Btu/hr) | Usable Heat (Btu/hr) | Displaced Boiler Fuel (Btu/hr) | Energy Chargeable (Btu/kWh) | Annual Extra NG (MMBtu) | Annual Energy Gen (kWh) | Annual kWh Cost Savings ($) | Annual Extra Gas Cost ($) | Annual Maintenance Costs ($) | Total Annual Savings ($) | Capital Cost ($) | Labor Cost ($) | Implementation Cost | SPP (months)
487428.5714 | 289532.5714 | 361915.7143 | 2510.2571 | 12103.5611 | 1248000 | 120789.2903 | 73334.1389 | 6400 | 41055.1514 | 330000 | 240000 | 570000 | 166.6052

## SteamLeak
ID | Location | Diameter of Leak (mm) | Number of Leaks | Area of Leak Total (mm^2) | Leakage Rate (kg/hr) | Energy Waste (MMbtu/year) | Energy Savings (MMbtu/year) | Cost Savings ($/year) | Capital Cost ($/year) | Labor Cost ($/year) | Implementation Cost ($/year) | SPP (years) | SPP (months)
1 | outside | 2 | 3 | 3.1416 | 18.6842 | 339.428 | 8938.27 | 54156 | 1908 | 857.66 | 2765.66 | 0.05 | 0.61
2 | inside | 4 | 1 | 12.5664 | 74.737 | 452.5707
3 | upside | 12 | 2 | 113.0973 | 672.6327 | 8146.2725

## Belts
Peak Reduction (KW) | Annual KWh Recduction (KWh/year) | Annual Peak Savings ($/year) | Annual KWh Savings ($/year) | Total Annual Savings ($/year) | Labor Cost ($) | Capital Cost ($) | Implementation Cost ($) | SPP (years) | SPP (months)
3.76 | 23461.4 | 675.2 | 2270.74 | 2945.94 | 630 | 1229.76 | 1229.76 | 0.63 | 7.58

## Isolate
Load Hours (hr/year) | Unload Hours (hr/year) | Total bhp | Heat Gen:Load (Btu/year) | Heat Gen:Unload (Btu/year) | Heat Gen:Total (Btu/year) | Energy Savings (KWh/year) | Annual Cost Savings ($/year) | Implementation Cost ($) | SPP (years) | SPP (months)
3120 | 5640 | 29.4 | 93379104 | 42200172 | 135579276 | 15064.364 | 1458.0239 | 3164.6 | 2.1705 | 26.0457

## AirFilter
Filters needed | Use hours (hrs/year) | Peak Reduction (KW) | KWh Reduction (KWh/year) | Peak Savings ($/year) | KWh Savings ($/year) | Total Savings ($/year) | Capital Cost ($) | Labor Cost ($) | Total Cost ($) | SPP (years) | SPP (months)
144 | 3120 | 10.0656 | 3039.5417 | 903.7955 | 3039.5417 | 3943.3372 | 979.2 | 150 | 1129.2 | 0.28636 | 3.4363

## NEMA
ID | Motor Hp | Number of Motors | Rewound | Efficiency Current (%) | Efficiency Nema (%) | Labor for Install (hrs) | Labor for Hookup (hrs) | Motor Cost ($) | Efficency Part | HP Part | KW Reduction (KW) | Labor Cost ($) | Capital Cost ($) | Peak Reduction (KW) | KWh Reduciton (KWh/year) | Peak Savings ($/year) | KWh Savings ($/year) | Total Savings ($/year) | Total Labor Cost ($) | Total Capital Cost ($) | Total Implementation Cost ($) | SPP (years) | SPP (months)
1 | 40 | 6 | TRUE | 88.9 | 94.1 | 12 | 3.8 | 4070 | 0.06216 | 14.9184 | 8.3469 | 2844 | 24420 | 19.7116 | 110700.1711 | 3539.8242 | 10714.2589 | 14254.0831 | 6711 | 60598 | 67309 | 4.7221 | 56.665
2 | 30 | 2 | TRUE | 88.7 | 93.6 | 9.5 | 2.2 | 2714 | 0.05902 | 3.5412 | 1.9813 | 702 | 5428
3 | 20 | 5 | TRUE | 87.8 | 94.1 | 7 | 1.5 | 2132 | 0.076253 | 7.6253 | 4.2664 | 1275 | 10660
4 | 10 | 10 | TRUE | 85.2 | 92.4 | 5 | 1.3 | 2009 | 0.091458 | 9.1458 | 5.1171 | 1890 | 20090

## HVAC
Equipment | QTY | MAKE | MODEL | SERIAL # | Tonnage | EER Pre | EER Post | Unit Cost OP ($) | Unit Cost ($) | Capacity (btu/hr) | Peak Reduction (KW) | Kwh Reduction (KWh/year) | Unit Cost:adj for Inflation | Labor Cost:adj for Inflation | Peak Reduction (KW) | KWh Reduction (KWh/year) | Peak Savings ($/year) | KWh Savings ($/year) | Total Savings ($/year) | Capital Cost ($) | Labor Cost ($) | Total Cost ($) | SPP (years) | SPP (months)
#1 RTU Split System | 1 | Carrier | Model#XXXXXXX | NA1234 | 3.5 | 5 | 10.5 | 3358 | 2583 | 42000 | 4.4 | 13728 | 4055.31 | 1216.75 | 71.3143 | 222500.5714 | 6403.3471 | 21535.0049 | 27938.352 | 85605.82 | 25689.91 | 111295.73 | 3.9836 | 47.8034
#2 RTU Spllt System | 1 | Carrier | Model#XXXXXXX | NA1235 | 3 | 5 | 10.5 | 3358 | 2583 | 36000 | 3.7714 | 11766.8571 | 4055.31 | 1216.75
#3 RTU Split System | 1 | Carrier | Model#XXXXXXX | NA1236 | 3 | 5 | 10.5 | 3358 | 2583 | 36000 | 3.7714 | 11766.8571 | 4055.31 | 1216.75
#4 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1237 | 7.5 | 7.5 | 10.5 | 9336 | 7181 | 90000 | 3.4286 | 10697.1429 | 11274.17 | 3383.35
#5 RTU Split System | 1 | Carrier | Model#XXXXXXX | NA1238 | 3 | 5 | 10.5 | 3358 | 2583 | 36000 | 3.7714 | 11766.8571 | 4055.31 | 1216.75
#6 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1239 | 4 | 5 | 10.5 | 5315 | 4088 | 48000 | 5.0286 | 15689.1429 | 6418.16 | 1926.39
#7 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1240 | 3 | 5 | 10.5 | 3358 | 2583 | 36000 | 3.7714 | 11766.8571 | 4055.31 | 1216.75
#8 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1241 | 2 | 5 | 10.5 | 2868 | 2206 | 24000 | 2.5143 | 7844.5714 | 3463.42 | 1039.34
#9 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1242 | 3.5 | 5 | 10.5 | 3358 | 2583 | 42000 | 4.4 | 13728 | 4055.31 | 1216.75
#10 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1243 | 5 | 5 | 10.5 | 5315 | 4088 | 60000 | 6.2857 | 19611.4286 | 6418.16 | 1926.39
#13 RTU Split System | 1 | Carrier | Model#XXXXXXX | NA1244 | 2 | 5 | 10.5 | 2868 | 2206 | 24000 | 2.5143 | 7844.5714 | 3463.42 | 1039.34
#14 RTU Split System | 1 | Carrier | Model#XXXXXXX | NA1245 | 3.5 | 5 | 10.5 | 3358 | 2583 | 42000 | 4.4 | 13728 | 4055.31 | 1216.75
#15 RTU Spllt System | 1 | Carrier | Model#XXXXXXX | NA1246 | 2 | 5 | 10.5 | 2868 | 2206 | 24000 | 2.5143 | 7844.5714 | 3463.42 | 1039.34
#17 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1247 | 5 | 5 | 10.5 | 5315 | 4088 | 60000 | 6.2857 | 19611.4286 | 6418.16 | 1926.39
#18 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1248 | 5 | 5 | 10.5 | 5315 | 4088 | 60000 | 6.2857 | 19611.4286 | 6418.16 | 1926.39
#19 RTU Packaged Roof-Top Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1249 | 5 | 5 | 10.5 | 5315 | 4088 | 60000 | 6.2857 | 19611.4286 | 6418.16 | 1926.39
Mini Split Air Conditioning Unit | 1 | Carrier | Model#XXXXXXX | NA1250 | 1.5 | 5 | 10.5 | 2868 | 2206 | 18000 | 1.8857 | 5883.4286 | 3463.42 | 1039.34